## CermakA_0
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 388 | 513041 | 490374 | 0 | 1714 | 0 | 2077.939 | 10 | 13 | 3687.428 | 2554665 | 877.2916 | 877.2916 | 974.7684 | 21932.29 | 24369.21 | 0 | 0 | 10% | -101132.32 | 6066885.1
Chicago | 754 | 998657 | 954535 | 0 | 91344 | 0 | 29741.281 | 31 | 122 | 34150.076 | 2183538 | 779.8148 | 779.8148 | 974.7684 | 19495.37 | 24369.21 | 0 | 0 | 20% | -336370.57 | 6302123.35
Chicago | 1068 | 1414304 | 1351819 | 0 | 281393 | 0 | 122003.81 | 70 | 495 | 134090.409 | 1987469 | 682.338 | 682.338 | 974.7684 | 17058.45 | 24369.21 | 0 | 0 | 30% | -764792.53 | 6730545.31
Chicago | 1356 | 1795117 | 1715807 | 0 | 449974 | 0 | 254114.48 | 142 | 1014 | 269050.907 | 1807133 | 584.8612 | 584.8612 | 974.7684 | 14621.53 | 24369.21 | 0 | 0 | 40% | -1242357.5 | 7208110.28
Chicago | 1658 | 2194291 | 2097345 | 0 | 661268 | 0 | 375649.953 | 196 | 1487 | 387143.008 | 1650070 | 487.3844 | 487.3844 | 974.7684 | 12184.61 | 24369.21 | 0 | 0 | 50% | -1741898.23 | 7707651.02
Chicago | 1960 | 2594171 | 2479558 | 0 | 878667 | 0 | 500709.779 | 250 | 1970 | 504261.015 | 1498325 | 389.9072 | 389.9072 | 974.7684 | 9747.68 | 24369.21 | 0 | 0 | 60% | -2252717.14 | 8218469.92
Chicago | 2274 | 3010262 | 2877266 | 0 | 1128002 | 0 | 612353.665 | 294 | 2392 | 606327.854 | 1361342 | 292.4304 | 292.4304 | 974.7684 | 7310.76 | 24369.21 | 0 | 0 | 70% | -2771749.42 | 8737502.2
Chicago | 2581 | 3415949 | 3265029 | 0 | 1365079 | 0 | 735533.864 | 345 | 2855 | 718942.387 | 1223222 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 80% | -3298381.3 | 9264134.09
Chicago | 2900 | 3838771 | 3669171 | 0 | 1634460 | 0 | 844780.461 | 391 | 3245 | 816071.382 | 1099304 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 90% | -3831654.32 | 9797407.1
Chicago | 2900 | 3838771 | 3669171 | 0 | 1192888 | 0 | 1352662.97 | 682 | 5425 | 1363812.997 | 718877 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 100% | -4524826.16 | 10490578.94

## CermakA_1
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 388 | 513041 | 490374 | 0 | 1714 | 0 | 2077.939 | 10 | 13 | 3687.428 | 2554665 | 877.2916 | 877.2916 | 974.7684 | 21932.29 | 24369.21 | 0 | 0 | 0.1 | -101132.32 | 6066885.1
Chicago | 754 | 998657 | 954535 | 0 | 91344 | 0 | 29741.281 | 31 | 122 | 34150.076 | 2183538 | 779.8148 | 779.8148 | 974.7684 | 19495.37 | 24369.21 | 0 | 0 | 0.2 | -336370.57 | 6302123.35
Chicago | 1068 | 1414304 | 1351819 | 0 | 281393 | 0 | 122003.81 | 70 | 495 | 134090.409 | 1987469 | 682.338 | 682.338 | 974.7684 | 17058.45 | 24369.21 | 0 | 0 | 0.3 | -764792.53 | 6730545.31
Chicago | 1356 | 1795117 | 1715807 | 0 | 449974 | 0 | 254114.48 | 142 | 1014 | 269050.907 | 1807133 | 584.8612 | 584.8612 | 974.7684 | 14621.53 | 24369.21 | 0 | 0 | 0.4 | -1242357.5 | 7208110.28
Chicago | 1658 | 2194291 | 2097345 | 0 | 661268 | 0 | 375649.953 | 196 | 1487 | 387143.008 | 1650070 | 487.3844 | 487.3844 | 974.7684 | 12184.61 | 24369.21 | 0 | 0 | 0.5 | -1741898.23 | 7707651.02
Chicago | 1960 | 2594171 | 2479558 | 0 | 878667 | 0 | 500709.779 | 250 | 1970 | 504261.015 | 1498325 | 389.9072 | 389.9072 | 974.7684 | 9747.68 | 24369.21 | 0 | 0 | 0.6 | -2252717.14 | 8218469.92
Chicago | 2274 | 3010262 | 2877266 | 0 | 1128002 | 0 | 612353.665 | 294 | 2392 | 606327.854 | 1361342 | 292.4304 | 292.4304 | 974.7684 | 7310.76 | 24369.21 | 0 | 0 | 0.7 | -2771749.42 | 8737502.2
Chicago | 2581 | 3415949 | 3265029 | 0 | 1365079 | 0 | 735533.864 | 345 | 2855 | 718942.387 | 1223222 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 0.8 | -3298381.3 | 9264134.09
Chicago | 2900 | 3838771 | 3669171 | 0 | 1634460 | 0 | 844780.461 | 391 | 3245 | 816071.382 | 1099304 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 0.9 | -3831654.32 | 9797407.1
Chicago | 2900 | 3838771 | 3669171 | 0 | 1192888 | 0 | 1352662.97 | 682 | 5425 | 1363812.997 | 718877 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 1 | -4524826.16 | 10490578.94

## CermakA_2
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 388 | 513041 | 490374 | 0 | 1714 | 0 | 2077.939 | 10 | 13 | 3687.428 | 2554665 | 877.2916 | 877.2916 | 974.7684 | 21932.29 | 24369.21 | 0 | 0 | 0.1 | -101132.32 | 6066885.1
Chicago | 754 | 998657 | 954535 | 0 | 91344 | 0 | 29741.281 | 31 | 122 | 34150.076 | 2183538 | 779.8148 | 779.8148 | 974.7684 | 19495.37 | 24369.21 | 0 | 0 | 0.2 | -336370.57 | 6302123.35
Chicago | 1068 | 1414304 | 1351819 | 0 | 281393 | 0 | 122003.81 | 70 | 495 | 134090.409 | 1987469 | 682.338 | 682.338 | 974.7684 | 17058.45 | 24369.21 | 0 | 0 | 0.3 | -764792.53 | 6730545.31
Chicago | 1356 | 1795117 | 1715807 | 0 | 449974 | 0 | 254114.48 | 142 | 1014 | 269050.907 | 1807133 | 584.8612 | 584.8612 | 974.7684 | 14621.53 | 24369.21 | 0 | 0 | 0.4 | -1242357.5 | 7208110.28
Chicago | 1658 | 2194291 | 2097345 | 0 | 661268 | 0 | 375649.953 | 196 | 1487 | 387143.008 | 1650070 | 487.3844 | 487.3844 | 974.7684 | 12184.61 | 24369.21 | 0 | 0 | 0.5 | -1741898.23 | 7707651.02
Chicago | 1960 | 2594171 | 2479558 | 0 | 878667 | 0 | 500709.779 | 250 | 1970 | 504261.015 | 1498325 | 389.9072 | 389.9072 | 974.7684 | 9747.68 | 24369.21 | 0 | 0 | 0.6 | -2252717.14 | 8218469.92
Chicago | 2274 | 3010262 | 2877266 | 0 | 1128002 | 0 | 612353.665 | 294 | 2392 | 606327.854 | 1361342 | 292.4304 | 292.4304 | 974.7684 | 7310.76 | 24369.21 | 0 | 0 | 0.7 | -2771749.42 | 8737502.2
Chicago | 2581 | 3415949 | 3265029 | 0 | 1365079 | 0 | 735533.864 | 345 | 2855 | 718942.387 | 1223222 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 0.8 | -3298381.3 | 9264134.09
Chicago | 2900 | 3838771 | 3669171 | 0 | 1634460 | 0 | 844780.461 | 391 | 3245 | 816071.382 | 1099304 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 0.9 | -3831654.32 | 9797407.1
Chicago | 2900 | 3838771 | 3669171 | 0 | 1192888 | 0 | 1352662.97 | 682 | 5425 | 1363812.997 | 718877 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 1 | -4524826.16 | 10490578.94

## CermakA_3
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 0.73 | 1553992.05 | 4411760.73
Chicago | 2900 | 3838771 | 3669171 | 0 | 2349945 | 0 | 258798.269 | 132 | 1077 | 292487.221 | 1756367 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 0.8 | 1211270.8 | 4754481.98
Chicago | 2900 | 3838771 | 3669171 | 0 | 2110935 | 0 | 648968.446 | 385 | 3075 | 799303.85 | 1573940 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 0.9 | 379794.25 | 5585958.53
Chicago | 2900 | 3838771 | 3669171 | 0 | 1797039 | 0 | 1048909.678 | 654 | 5119 | 1349716.305 | 1321534 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 1 | -662933.19 | 6628685.97

## CermakA_4
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2845 | 3766166 | 3599773 | 0 | 2349945 | 0 | 6270.593 | 14 | 18 | 5644.442 | 1793717 | 264.466 | 264.466 | 974.7684 | 6611.65 | 24369.21 | 0 | 0 | 73% | 1553992.05 | 4411760.73
Chicago | 2900 | 3838771 | 3669171 | 0 | 2349945 | 0 | 258798.269 | 132 | 1077 | 292487.221 | 1756367 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 80% | 1211270.8 | 4754481.98
Chicago | 2900 | 3838771 | 3669171 | 0 | 2110935 | 0 | 648968.446 | 385 | 3075 | 799303.85 | 1573940 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 90% | 379794.25 | 5585958.53
Chicago | 2900 | 3838771 | 3669171 | 0 | 1797039 | 0 | 1048909.678 | 654 | 5119 | 1349716.305 | 1321534 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 100% | -662933.19 | 6628685.97
This scenario has a wholesale rate this is equal to the retail rate.

## CermakB_0
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | ASHP_size_tonhour | ASHP_annual_electric_consumption_kwh | ASHP_annual_thermal_production_mmbtu | ASHP_annual_cooling_tonhour | Grid_Electricity_Supplied_kWh_annual | Annual_Total_HeatingLoad_MMBtu | BAU_Existing_Boiler_Fuel_Consump_MMBtu | BAU_Existing_Boiler_Thermal_Prod_MMBtu | NG_Annual_Consumption_MMBtu | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CermakB_1
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | ASHP_size_tonhour | ASHP_annual_electric_consumption_kwh | ASHP_annual_thermal_production_mmbtu | ASHP_annual_cooling_tonhour | Grid_Electricity_Supplied_kWh_annual | Annual_Total_HeatingLoad_MMBtu | BAU_Existing_Boiler_Fuel_Consump_MMBtu | BAU_Existing_Boiler_Thermal_Prod_MMBtu | NG_Annual_Consumption_MMBtu | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 2405 | 3183584 | 3042930 | 0 | 1836382 | 0 | 134.217 | 10 | 13 | 189.089 | 0 | 0 | 0 | 0 | 1836382 | 22691 | 30255 | 22691 | 30255 | 1980.6248 | 374.5752 | 2580.818 | 49515.62 | 64520.45 | 40151.23 | 1606 | 23% | 1318306.19 | 7861753.04
Chicago | 2405 | 3183584 | 3042930 | 0 | 1836382 | 0 | 134.217 | 10 | 13 | 189.089 | 0 | 0 | 0 | 0 | 1836382 | 22691 | 30255 | 22691 | 30255 | 1980.6248 | 374.5752 | 2580.818 | 49515.62 | 64520.45 | 40151.23 | 1606 | 23% | 1318306.19 | 7861753.04
Chicago | 2900 | 3838771 | 3669171 | 0 | 2178912 | 0 | 267366.145 | 117 | 970 | 263729.679 | 0 | 0 | 0 | 0 | 1582121 | 22691 | 30255 | 22691 | 30255 | 1806.5724 | 200.5232 | 2580.818 | 45164.31 | 64520.45 | 40151.23 | 1606 | 30% | 610337.58 | 8569721.65
Chicago | 2900 | 3838771 | 3669171 | 0 | 1152094 | 0 | 1561644.053 | 953 | 6775 | 1806034.648 | 0 | 0 | 0 | 0 | 727580 | 22691 | 30255 | 22691 | 30255 | 1548.4908 | -57.5588 | 2580.818 | 38712.27 | 64520.45 | 40151.23 | 1606 | 40% | -2139855.15 | 11319914.38
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0

## CermakA_5
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | NG_LifeCycle_Emissions_CO2 | Emissions_from_NG | LifeCycle_Emission_Reduction_Fraction | npv | lcc
Chicago | 388 | 513036 | 490370 | 0 | 1714 | 0 | 2200.428 | 10 | 13 | 3700.671 | 2554671 | 877.2916 | 877.2916 | 974.7684 | 21932.29 | 24369.21 | 0 | 0 | 0.1 | -170580.06 | 6136332.84
Chicago | 765 | 1012105 | 967389 | 0 | 105656 | 0 | 19181.776 | 27 | 75 | 21480.557 | 2183583 | 779.8148 | 779.8148 | 974.7684 | 19495.37 | 24369.21 | 0 | 0 | 0.2 | -428495.77 | 6394248.55
Chicago | 1169 | 1546990 | 1478643 | 0 | 471732 | 0 | 3625.341 | 10 | 14 | 3793.521 | 2036427 | 682.338 | 682.338 | 974.7684 | 17058.45 | 24369.21 | 0 | 0 | 0.3 | -565360.08 | 6531112.86
Chicago | 1559 | 2063963 | 1972775 | 0 | 877576 | 0 | 3770.945 | 10 | 14 | 3846.89 | 1948144 | 584.8612 | 584.8612 | 974.7684 | 14621.53 | 24369.21 | 0 | 0 | 0.4 | -766364.03 | 6732116.81
Chicago | 1950 | 2581211 | 2467171 | 0 | 1310363 | 0 | 3665.169 | 10 | 13 | 3659.575 | 1886515 | 487.3844 | 487.3844 | 974.7684 | 12184.61 | 24369.21 | 0 | 0 | 0.5 | -967545.04 | 6933297.82
Chicago | 2340 | 3098070 | 2961195 | 0 | 1757659 | 0 | 3911.642 | 10 | 14 | 3829.182 | 1839806 | 389.9072 | 389.9072 | 974.7684 | 9747.68 | 24369.21 | 0 | 0 | 0.6 | -1168835.2 | 7134587.98
Chicago | 2441 | 3231149 | 3088394 | 0 | 1539276 | 0 | 378451.15 | 183 | 1423 | 382211.562 | 1536494 | 292.4304 | 292.4304 | 974.7684 | 7310.76 | 24369.21 | 0 | 0 | 0.7 | -1733179.86 | 7698932.64
Chicago | 2792 | 3696456 | 3533143 | 0 | 1896242 | 0 | 437622.435 | 208 | 1614 | 433382.683 | 1454426 | 194.9536 | 194.9536 | 974.7684 | 4873.84 | 24369.21 | 0 | 0 | 0.8 | -2457692.72 | 8423445.5
Chicago | 2900 | 3838771 | 3669171 | 0 | 1686319 | 0 | 810425.254 | 384 | 3084 | 801340.093 | 1149551 | 97.4768 | 97.4768 | 974.7684 | 2436.92 | 24369.21 | 0 | 0 | 0.9 | -3236706.18 | 9202458.96
Chicago | 2900 | 3838771 | 3669171 | 0 | 1204574 | 0 | 1339709.443 | 708 | 5311 | 1355711.91 | 729685 | 0 | 0 | 974.7684 | 0 | 24369.21 | 0 | 0 | 1 | -4367591.8 | 10333344.58

## CermakA_6
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 0.01 | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 0.19 | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 0.28 | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 0.34 | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 0.47 | -1244829.75 | 7270693.13

## CermakA_7
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 0.01 | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 0.19 | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 0.28 | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 0.34 | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 0.47 | -1244829.75 | 7270693.13

## CermakA_8
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 0.01 | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 0.19 | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 0.28 | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 0.34 | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 0.47 | -1244829.75 | 7270693.13

## CermakA_9
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0% | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 1% | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 19% | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 28% | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 34% | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 47% | -1244829.75 | 7270693.13
outage durations = 8, 16, 24 hour durations

## MarkhamA_0
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 1036 | 1371495 | 1310901 | 0 | 0 | 0 | 125642.653 | 377 | 1854 | 285660.782 | 3280567 | 960.1912 | 960.1912 | 1066.8792 | 24004.78 | 26671.98 | 10% | 497669.94 | 0 | 2369556.48 | 1036462.67 | 382186 | 92100.38 | 493469.38 | 0 | 1298155.6 | 28% | -672770.65 | 6233671.2
Chicago | 1357 | 1796899 | 1717510 | 0 | 2957 | 0 | 238770.416 | 403 | 2074 | 411767.919 | 2891081 | 853.5036 | 853.5036 | 1066.8792 | 21337.59 | 26671.98 | 20% | 1043351.3 | 0 | 3790293.6 | 1641566.93 | 336810.95 | 85034.2 | 441028.15 | 166 | 1693289.22 | 37% | -819362.37 | 6420739.98
Chicago | 1443 | 1910119 | 1825728 | 0 | 10426 | 0 | 441540.079 | 402 | 3039 | 793468.104 | 2833117 | 746.8156 | 746.8156 | 1066.8792 | 18670.39 | 26671.98 | 30% | 1188583.62 | 0 | 4573690.64 | 2020809.06 | 330058.19 | 116801.73 | 466042.92 | 584 | 1780938.75 | 39% | -1532406.24 | 7152790.26
outage durations = 8, 16, 24 hour durations

## ProvdientA_0
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 808 | 6611 | 122051.651 | 11383397 | 3660.2364 | 3660.2364 | 3641.0904 | 91505.91 | 91027.26 | -1% | 0 | 0 | 3743285.08 | 1794788.42 | 1326165.78 | 194430.09 | 1539778.87 | 0 | 0 | 0% | -2340413.28 | 17442687.25
Chicago | 337 | 445833 | 426136 | 0 | 0 | 0 | 47555.788 | 795 | 12633 | 167697.893 | 10960508 | 3555.054 | 3555.054 | 3641.0904 | 88876.35 | 91027.26 | 2% | 571886.56 | 0 | 7830703.33 | 3825324.35 | 1276899.24 | 182310.51 | 1478392.75 | 0 | 421311.79 | 4% | -4389199.67 | 19579566.42
Chicago | 337 | 445833 | 426136 | 0 | 0 | 0 | 57349.862 | 813 | 18927 | 220380.504 | 10964464 | 3553.5628 | 3553.5628 | 3641.0904 | 88839.07 | 91027.26 | 2% | 571886.56 | 0 | 10710456.77 | 5357074.07 | 1277360.07 | 179370.75 | 1475913.82 | 0 | 420318.28 | 4% | -6484671.67 | 21759024.4
outage durations = 8, 16, 24 hour durations

## CermakA_10
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 0.01 | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 0.19 | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 0.28 | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 0.34 | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 0.47 | -1244829.75 | 7270693.13

## CermakA_11
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2789.58 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31347.8 | 0.01 | -544848.07 | 6529404.04
Chicago | 669 | 884944 | 845846 | 0 | 23913 | 0 | 86082.755 | 181 | 1713 | 125530.327 | 2234609 | 787.0876 | 787.0876 | 974.7684 | 19677.19 | 24369.21 | 0.19 | 1135150.02 | 0 | 3642148.32 | 1593461.56 | 250499.72 | 39088.76 | 518381.48 | 2678 | 837114.04 | 0.28 | -870841.99 | 6877347.78
Chicago | 1158 | 1532530 | 1464821 | 0 | 290830 | 0 | 205444.057 | 256 | 2075 | 217953.836 | 1892870 | 646.7484 | 646.7484 | 974.7684 | 16168.71 | 24369.21 | 0.34 | 1965833.15 | 0 | 5850073.36 | 2529886.98 | 212190.73 | 35747.54 | 476731.27 | 32569 | 1443981.69 | 0.47 | -1244829.75 | 7270693.13

## MarkhamA_1
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 1036 | 1371495 | 1310901 | 0 | 0 | 0 | 126652.283 | 377 | 1854 | 285660.782 | 3280567 | 960.1912 | 960.1912 | 1066.8792 | 24004.78 | 26671.98 | 0.1 | 497669.94 | 0 | 2369556.48 | 1036462.67 | 382186 | 92100.38 | 493469.38 | 0 | 1298053.18 | 0.28 | -672770.65 | 6233671.2
Chicago | 1357 | 1796899 | 1717510 | 0 | 2957 | 0 | 239700.482 | 403 | 2074 | 411767.919 | 2891081 | 853.5036 | 853.5036 | 1066.8792 | 21337.59 | 26671.98 | 0.2 | 1043351.3 | 0 | 3790293.6 | 1641566.93 | 336810.95 | 85034.2 | 441028.15 | 166 | 1693194.87 | 0.37 | -819362.37 | 6420739.98
Chicago | 1804 | 2387870 | 2282372 | 0 | 96018 | 0 | 254125.166 | 398 | 2246 | 348767.327 | 2412114 | 746.8156 | 746.8156 | 1066.8792 | 18670.39 | 26671.98 | 0.3 | 1801411.96 | 0 | 5665663.84 | 2440192.12 | 281011.25 | 79378.81 | 379573.06 | 5377 | 2256593.33 | 0.49 | -1055703.9 | 6676087.92

## CermakA_12
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2892.452 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0% | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31337.37 | 1% | -544848.07 | 6529404.04
Chicago | 175 | 231650 | 221416 | 0 | 0 | 0 | 35368.813 | 186 | 2630 | 79483.808 | 2829639 | 923.6536 | 923.6536 | 974.7684 | 23091.34 | 24369.21 | 5% | 297145.91 | 0 | 2072513.31 | 979362.5 | 317202.52 | 40979.95 | 586975.47 | 0 | 217827.64 | 7% | -951378.55 | 6957884.34
Chicago | 175 | 231650 | 221416 | 0 | 0 | 0 | 35568.173 | 188 | 4005 | 86324.999 | 2829976 | 923.7276 | 923.7276 | 974.7684 | 23093.19 | 24369.21 | 5% | 297145.91 | 0 | 2699344.77 | 1313386.47 | 317240.32 | 40824.83 | 586858.15 | 0 | 217807.42 | 7% | -1411012.54 | 7436875.91

## CermakA_13
City | PV_size | PV_year1_production | PV_annual_energy_production_avg | PV_energy_lcoe | PV_energy_exported | PV_energy_curtailed | PV_energy_to_Battery_year1 | Battery_size_kW | Battery_size_kWh | Battery_serve_electric_load | Grid_Electricity_Supplied_kWh_annual | Total_Annual_Emissions_CO2 | ElecUtility_Annual_Emissions_CO2 | BAU_Total_Annual_Emissions_CO2 | LifeCycle_Emissions_CO2 | BAU_LifeCycle_Emissions_CO2 | LifeCycle_Emission_Reduction_Fraction | LifeCycle_capex_costs_for_generation_techs | LifeCycle_capex_costs_for_battery | Initial_upfront_capex_wo_incentives | Initial_upfront_capex_w_incentives | Yr1_energy_cost_after_tax | Yr1_demand_cost_after_tax | Yr1_total_energy_bill_before_tax | Yr1_export_benefit_before_tax | Annual_renewable_electricity_kwh | Annual_renewable_electricity_kwh_fraction | npv | lcc
Chicago | 25 | 33093 | 31631 | 0 | 0 | 0 | 2892.452 | 204 | 1532 | 40750.753 | 3015398 | 974.7676 | 974.7676 | 974.7684 | 24369.19 | 24369.21 | 0 | 42449.42 | 0 | 983597.42 | 462308.36 | 338026.17 | 43862.82 | 610681.99 | 0 | 31337.37 | 0.01 | -544848.07 | 6529404.04
Chicago | 175 | 231650 | 221416 | 0 | 0 | 0 | 35368.813 | 186 | 2630 | 79483.808 | 2829639 | 923.6536 | 923.6536 | 974.7684 | 23091.34 | 24369.21 | 0.05 | 297145.91 | 0 | 2072513.31 | 979362.5 | 317202.52 | 40979.95 | 586975.47 | 0 | 217827.64 | 0.07 | -951378.55 | 6957884.34
Chicago | 175 | 231650 | 221416 | 0 | 0 | 0 | 35568.173 | 188 | 4005 | 86324.999 | 2829976 | 923.7276 | 923.7276 | 974.7684 | 23093.19 | 24369.21 | 0.05 | 297145.91 | 0 | 2699344.77 | 1313386.47 | 317240.32 | 40824.83 | 586858.15 | 0 | 217807.42 | 0.07 | -1411012.54 | 7436875.91